## Electrical
| A | C | G | H | I | J | K | A | C | D | K
1 | Product | Manufacturer / Supplier | Bundaberg Regional Council | Fraser Coast Regional Council | Gympie Regional Council | South Burnet | North Burnett
3 | General Electrical
4 | Active Harmonic Filter | Telemecanique Accusine | Accepted |  |  | Accepted
|  | Danfoss |  |  |  | Accepted
5 |  | Schaffner Ecosine | Accepted |  |  | Accepted
6 | Battery – Pump Station UPS | 12V 18Ahr VRLA AGM Sealed Lead Acid | Accepted |  |  | Accepted
#REF! | Circuit Breakers - General purpose (L&P etc.) | Merlin Gerin C60N and NC100H | Accepted |  |  | Accepted
#REF! |  | Terasaki DIN-T | Accepted |  |  | Accepted
#REF! | Circuit Breakers - Incomers | Merlin Gerin NSX | Accepted |  |  | Accepted
|  | Terasaki Tembreak 2 |  |  |  | Accepted
#REF! |  | Terasaki Tembreak 3 | Accepted
#REF! | Circuit Breakers - Motor starters | Merlin Gerin NS | Accepted |  |  | Accepted
#REF! |  | Terasaki Tembreak Plus | Accepted |  |  | Accepted
#REF! | Contactors | Telemecanique LC1 Series | Accepted |  |  | Accepted
#REF! | Control Relays - Multi Pole C/O | Omron LY4 | Accepted |  |  | Accepted
#REF! |  | Finder | Accepted | Accepted |  | Accepted
#REF! | Cubicle Cooling Fans & Filters | Rittal SK Series | Accepted | Accepted |  | Accepted
#REF! | Current Transformers | Crompton | Accepted | Accepted |  | Accepted
#REF! |  | IME | Accepted | Accepted |  | Accepted
#REF! |  | Burkert (4-20mA) | Accepted | Accepted |  | Accepted
#REF! | Decontactors | Marechal | Accepted |  |  | Accepted
#REF! | Electric Control Valves | Auma | Accepted |  |  | Accepted
#REF! |  | Rotork | Accepted | Accepted |  | Accepted
#REF! | Electrodes | Xylem Multitrode Electrodes | Accepted |  |  | Accepted
#REF! |  | Multitrode Failsafe Probe – 0.2/1-30 Multitrode Probe – 1.0/10-30 | Accepted |  |  | Accepted
#REF! | Electrode Relays | Xylem Multitrode SafeSmart Backup Controller | Accepted |  |  | Accepted
#REF! |  | Multitrode MTRA-5 electrode units | Accepted |  |  | Accepted
#REF! | Fibre Optic Patch Panels | Optical Fibre Systems | Accepted |  |  | Accepted
#REF! | Fuse Cartridges | GEC Type NS | Accepted | Accepted |  | Accepted
#REF! |  | NHP | Accepted | Accepted |  | Accepted
#REF! | Fuse Holders | NHP Compact | Accepted | Accepted |  | Accepted
#REF! |  | GEC Safeclip | Accepted | Accepted |  | Accepted
#REF! | Generator inlet | 32 amp 5 pin Clipsal 56A1532 | Accepted |  |  | Accepted
#REF! |  | 63 amp 5 pin Wilco WMB563R | Accepted |  |  | Accepted
#REF! |  | 150 amp 5 pin Marechal Wall Box, Decontactor, Padlockable Dust Cap | Accepted |  |  | Accepted
#REF! | Indication Lights | Telemecanique XB5-AV LED Series | Accepted |  |  | Accepted
#REF! |  | Sprecher & Schuh LED | Accepted |  |  | Accepted
#REF! | Industrial Ethernet Switch | Weidmuller | Accepted |  |  | Accepted
#REF! |  | MOXA | Accepted |  |  | Accepted
#REF! | Mains Surge Arrestor | Erico | Accepted | Accepted |  | Accepted
#REF! |  | Novaris (minimum 80kA on a single shot 8/20μs with remote alarm) | Accepted | Accepted |  | Accepted
#REF! | Motors | ABB | Accepted |  |  | Accepted
#REF! |  | Toshiba | Accepted |  |  | Accepted
|  | TECO |  |  |  | Accepted
#REF! |  | Siemens | Accepted |  |  | Accepted
#REF! |  | WEG | Accepted | Accepted |  | Accepted
#REF! | Motor Isolators (Lockable) | Kraus & Namer | Accepted | Accepted |  | Accepted
#REF! |  | Schneider | Accepted | Accepted |  | Accepted
#REF! |  | Socomec | Accepted | Accepted |  | Accepted
#REF! | Motor Protection Relay (smart starter) | Telemecanique Tesys T | Accepted |  |  | Accepted
#REF! | Panel Meters - Ammeters and Voltmeters | NHP RQ72E Series - C/T metering required above 20 amp | Accepted | Accepted |  | Accepted
#REF! | Panel Mount Selector Switches | Schneider Harmony Style 4 Series | Accepted |  |  | Accepted
#REF! | Phase Failure Relay | Telemecanique, | Accepted |  |  | Accepted
|  | NHP Carlo Gavazzi | Accepted |  |  | Accepted
#REF! | Power Meter | Schneider Power Logic Series 800 Schneider PM5100 | Accepted | Accepted |  | Accepted
#REF! | Power supply 24V DC | PowerBox | Accepted |  |  | Accepted
#REF! |  | Meanwell | Accepted | Accepted |  | Accepted
#REF! |  | Weidmuller | Accepted |  |  | Accepted
#REF! |  | PULS | Accepted | Accepted |  | Accepted
#REF! | Pump Protection Relay | Flight Pumps – MiniCAS | Accepted | Accepted |  | Accepted
#REF! |  | Grundfoss – Thermistor Relay (See Thermistor Relay section) | Accepted |  |  | Accepted
| Pump Controllers | multismart |  |  |  | Accepted
|  | grundfos |  |  |  | Accepted
#REF! | Pushbutton Assemblies 22.5mm | Telemecanique | Accepted |  |  | Accepted
#REF! |  | Sprecher & Schuh | Accepted |  |  | Accepted
#REF! | Servers (SCADA) | Dell | Accepted | Accepted |  | Accepted
#REF! | Shear Pin relays | Emotron ELFI | Accepted |  |  | Accepted
#REF! | Smart Relay | Schneider Zelios SR3 | Accepted |  |  | Accepted
#REF! | Socket Outlets and Switches | Clipsal 56 series | Accepted | Accepted |  | Accepted
#REF! | Soft Starters | Telemecanique Altistart | Accepted |  |  | Accepted
#REF! |  | NHP AUCOM EMX-3 Series | Accepted |  |  | Accepted
#REF! |  | Sprecher and Schuh - PCS Series | Accepted |  |  | Accepted
#REF! | Surge Protection - Instrumentation | Erico | Accepted | Accepted |  | Accepted
#REF! |  | Novaris | Accepted | Accepted |  | Accepted
#REF! |  | Weidmuller | Accepted |  |  | Accepted
#REF! | Terminals | Weidmuller | Accepted |  |  | Accepted
#REF! | Thermal Overloads | Suited to Contactor | Accepted | Accepted |  | Accepted
#REF! |  | Telemecanique LR Series | Accepted |  |  | Accepted
#REF! | Thermistor Relays | Sprecher & Schuh RT7 | Accepted |  |  | Accepted
#REF! |  | Telemechanique LT3SM00MW 24VDC | Accepted |  |  | Accepted
#REF! | Timers Electronic | Omron | Accepted |  |  | Accepted
|  | Sprecher & Schuh | Accepted |  |  | Accepted
#REF! | UPS 240VAC | Powerware | Accepted |  |  | Accepted
#REF! |  | Eaton | Accepted |  |  | Accepted
#REF! | UPS Bypass Changeover Switch | Kraus & Naimer | Accepted |  |  | Accepted
#REF! | Variable Speed Drives | Danfoss | Accepted |  |  | Accepted
#REF! |  | Telemecanique Altivar | Accepted | Accepted (61, 630) |  | Accepted
#REF! |  | Siemens | Accepted |  |  | Accepted
#REF! | Instruments
| Instruments - Dissolved Oxygen | Royce |  |  |  | Accepted
#REF! |  | Hach | Accepted |  |  | Accepted
#REF! | Instruments - Flow | Royce | Accepted
#REF! |  | ABB Watermaster | Accepted | Accepted |  | Accepted
|  | E&H Promag |  | Accepted |  | Accepted
#REF! |  | ProcessMaster | Accepted |  |  | Accepted
#REF! | Instruments - Level | Vega Hydrostatic pressure transmitter (HART) | Accepted | Accepted |  | Accepted
#REF! |  | Vega Radar (HART) | Accepted | Accepted |  | Accepted
#REF! |  | ABB(Laser) | Accepted |  |  | Accepted
#REF! |  | IFM Effector | Accepted |  |  | Accepted
#REF! | Instruments - pH | Hach | Accepted |  |  | Accepted
|  | Grunfoss |  |  |  | Accepted
|  | Siemens (Evoqua) |  |  |  | Accepted
#REF! |  | Wallace and Tiernan | Accepted | Accepted |  | Accepted
#REF! | Instruments - Pressure | IFM Effector | Accepted | Accepted |  | Accepted
#REF! |  | Yokogawa | Accepted |  |  | Accepted
#REF! |  | ABB | Accepted |  |  | Accepted
#REF! | Instruments - Turbidity | Hach | Accepted |  |  | Accepted
#REF! | Communications (Telemetry and SCADA)
#REF! | Auto Dialler | EDAC 700 series | Accepted |  |  | Accepted
#REF! | Media Converter 10BaseT-10BFL/ST Multimode | Allied Telesyn | Accepted |  |  | Accepted
#REF! | Programmable Logic Control System | Schneider Premium | Accepted |  |  | Accepted
|  | Broderson | Accepted |  |  | Accepted
|  | Siemens S7 |  |  |  | Accepted
|  | Omron |  | Accepted |  | Accepted
#REF! | Telemetry, PLC Power Supply / UPS | PULS CP10.241 DC Power Supply 24-28VDC | Accepted | Accepted |  | Accepted
#REF! |  | PULS UB10.245 DC-UPS Output 24VDC and 12VDC | Accepted | Accepted |  | Accepted
#REF! |  | PULS UB10.242 DC-UPS Output 24VDC | Accepted | Accepted |  | Accepted
#REF! | Telemetry System - Radio | Radio – Trio QR Model -TBURQR4HH-E00E1L00 Conversion Kit - TBUMMNTKIT-ERQR (Trio Mounting plate adapter and conversion kit – ER to QR) | Accepted (Bundaberg / Bargara Region)]
#REF! |  | Radio – 4RF Aprisa SR+ Model – APSQ-N450-SSC-HD-31-ENAA | Accepted (Bundaberg / Bargara Region)]
#REF! |  | SBRC EATON/Elpro – TLX 400 Blackbutt, Kingaroy, Murgon, Nanango, Wondai 905U – Murgon WTP 405U-605M – Proston and Boondooma |  |  |  | Accepted
#REF! | Telemetry System - RTU | Schneider Scadapack E Series: TBUP357-EA55-AB00 TBUP334-EA55-AB00 Broderson RTU 32 & 32E: UCN-26IOA/231B0130.D BRE-64IO/231B0131.D1 Telemetry Logger 37 South Site Sentinel (3G) P1-001 P2-001 (The Location and situation of the site will determine what RTU will be used) | Accepted
#REF! |  | SBRC Eaton/Elpro – 115S-11/1/13, 115E-2, 905U and 405U |  |  |  | Accepted
#REF! | SCADA Radio Antenna Assembly
#REF! | Coaxial Cable | RFI RG213 | Accepted |  |  | Accepted
#REF! | Coax Crimp Connector | RFI N-119 | Accepted |  |  | Accepted
#REF! | Coaxial 900 Connector | RFI N-246 | Accepted |  |  | Accepted
#REF! | Poly Phaser | RFI IS-B50LN-C2 | Accepted |  |  | Accepted
#REF! | Antenna | RFI YB6-61 (450-480MHz) | Accepted |  |  | Accepted
#REF! | U Bracket | RFI UNV2 S/S | Accepted |  |  | Accepted
#REF! | Antenna Mast | S/S 32mm tube | Accepted |  |  | Accepted

## Mechanical
| A | C | D | E | F | G | H | I | J | K | A | C | D | K
1 | Product | Manufacturer / Supplier | Trade Name | Size Range | Specified Requirements / Minimum Class | Bundaberg Regional Council | Fraser Coast Regional Council | Gympie Regional Council | South Burnet | North Burnett
3 | A: PUMPS
4 | Submersible Sewage Pump Station/ Lift Station Pumps | Sulzer Pumps Aust Pty Ltd | Sulzer |  |  | Accepted | Not Accepted |  | Accepted
5 | C: Xylem Water Solutions Ltd; D: Flygt; G: Accepted; H: Accepted; J: Accepted
6 | C: Grundfos Pumps Pty Ltd; D: Grundfos; G: Accepted; H: Not Accepted; J: Accepted
7 | C: KSB Australia Pty Ltd; D: KSB; G: Accepted; H: Accepted; J: Accepted
11 | A: Submersible sewage pump with grinder; C: Sulzer Pumps Aust Pty Ltd; D: Sulzer; G: Accepted; H: Not Accepted
12 | C: Grundfos Pumps Pty Ltd; D: Grundfos; G: Accepted; H: Not Accepted
13 | C: Xylem Water Solutions Ltd; D: Flygt; G: Accepted; H: Accepted
14 | C: KSB Australia Pty Ltd; D: KSB; G: Accepted; H: Accepted
16 | Helical rotor pump (Progressive Cavity Pump) | Mono Pumps Australia Pty Ltd | Mono |  |  | Accepted | Accepted |  | Accepted
17 | D: Seepex; G: Accepted; H: Accepted; J: Accepted
18 | D: Netzsch; G: Accepted; H: Not Accepted; J: Accepted
19 | D: PCM (Pumpability_); G: Accepted; H: Not Accepted; J: Accepted
20 | D: Rotopumps; G: Accepted; H: Accepted; J: Accepted
21 | Centrifugal | Sulzer Pumps Aust Pty Ltd | Sulzer |  |  | Accepted | Not Accepted |  | Accepted
22 | C: Xylem Water Solutions Ltd; D: Flygt; G: Accepted; H: Accepted; J: Accepted
23 | C: Grundfos Pumps Pty Ltd; D: Grundfos; G: Accepted; H: Accepted; J: Accepted
24 | C: KSB Australia Pty Ltd; D: KSB; G: Accepted; H: Accepted; J: Accepted
25 | C: Hydro Innovations; D: Gorman Rupp; G: Accepted; H: Accepted; J: Accepted
26 | C: Capari; H: Not Accepted; J: Accepted
27 | C: Wilo; H: Not Accepted; J: Accepted
28 | Motor Driven Diaphragm Pumps | Grundfos Pumps Pty Ltd | Alldos |  |  | Accepted | Accepted |  | Accepted
29 | C: Siemens; D: Siemens; G: Accepted; H: Accepted; J: Accepted
30 | D: PCM (pumpability); G: Accepted; H: Not Accepted; J: Accepted
31 | C: Grundfos Pumps Pty Ltd; D: Grundfoss DDA Series; G: Accepted; H: Accepted; J: Accepted
32
33
34 | Package Pump Stations (Sewer) | Xylem Water Solutions Ltd | Flygt |  |  | Accepted | Accepted |  | Accepted
35 | C: Qmax; G: Accepted; H: Not Accepted; J: Accepted
36 | C: Hydro Innovations; D: Gorman Rupp; G: Accepted; H: Accepted; J: Accepted
37 | A: Package Pump Stations (Water)Pressure Boosters; C: Grundfos Pumps Pty Ltd; D: Grundfos; H: Accepted; J: Accepted
38 | D: Lowara; H: Accepted; J: Accepted
39
40 | A: Positive Displacement; C: Borger; G: Accepted; H: Not Accepted; J: Accepted
41 | C: PCM (Pumpability); G: Accepted; H: Not Accepted; J: Accepted
42 | C: Rotopumps; G: Accepted; H: Accepted; J: Accepted
43 | C: Volgesang; H: Not Accepted; J: Accepted
44 | C: Mono Pumps Australia Pty Ltd; H: Accepted; J: Accepted
45 | Pressure Pump Skids | Grundfos Pumps Pty Ltd | Grundfos |  |  | Accepted | Accepted |  | Accepted
46 | C: KSB Australia Pty Ltd; D: KSB; G: Accepted; H: Accepted; J: Accepted
47 | C: Xylem Water Solutions Ltd; D: Flyht; G: Accepted; H: Accepted; J: Accepted
48 | D: Southern Cross; G: Accepted; H: Accepted; J: Accepted
49 | C: Hydro Innovations; D: Gormann Rupp; G: Accepted; H: Not Accepted; J: Accepted
50 | A: Aeration, Blowers and Mixers
51 | A: Aeration Systems - Diffused Aeration; D: Ovivio Aquaconsult (Aerostrip); G: Accepted; H: Not Accepted; J: Accepted
52 | D: Xylem (Sanitare); G: Accepted; H: Accepted; J: Accepted
53 | D: Aquatec Maxcon; G: Accepted; H: Accepted; J: Accepted
54 | D: ABS; G: Accepted; H: Not Accepted; J: Accepted
55 | A: Aeration Systems - Submerged Jet Aerator; D: Xylem (Sanitare); G: Accepted; H: Accepted; J: Accepted
56 | D: ABS; G: Accepted; H: Not Accepted; J: Accepted
57 | D: Grundfos; G: Accepted; H: Accepted; J: Accepted
58 | A: Air Compressor - Screw compressor; D: Kaeser; G: Accepted; H: Accepted; J: Accepted
59 | D: Atlas Copco; G: Accepted; H: Accepted; J: Accepted
60 | D: Gardner Denver; H: Accepted; J: Accepted
61 | Blower - Centroifugal | Sulzer Pumps Aust Pty Ltd | HST |  |  | Accepted | Accepted |  | Accepted
62 | D: Invent (K Turbo); G: Accepted; H: Not Accepted; J: Accepted
63 | D: Pedro Gil; H: Not Accepted; J: Accepted
64 | A: Blowers - Positive Displacement; D: PDA; G: Accepted; H: Accepted; J: Accepted
65 | D: Robushi; G: Accepted; H: Not Accepted; J: Accepted
66 | D: Caps; G: Accepted; H: Not Accepted; J: Accepted
67 | A: Mixers - Submerged; D: Flygt; H: Accepted; J: Accepted
68 | D: Grundfos; H: Not Accepted; J: Accepted
69 | D: ABS; H: Not Accepted; J: Accepted
70
71 | A: ACTUATOR/ SOLENOID VALVES (See Civil list for other valves)
72 | A: Electrical Actuator; C: Rotork; D: Rotork; H: Accepted
73 | C: Auma; D: Auma
74 | C: Limitorque/Acrodyne; D: Limitorque MX and QX Series
75 | A: Solenoid Valve; C: Burkett; D: Burkett; H: Accepted
76 | C: Norgren; D: Norgren
77 | Dual input gearbox- gate valves | AVFI | SR200/300 Dual Input Spur Gearbox | DN350 to DN750 | Directional arrows for open/close operation to be stamped on drive spindles |  | Accepted
78 | A: MISCELLANEOUS ITEMS (See Civil List for all Meters including Flow Meters)
79 | A: Band Screens; D: Ovivio (Braket and Green); G: Accepted; H: Accepted; J: Accepted
80 | D: Johnston Screens; G: Accepted; H: Accepted; J: Accepted
81 | D: CST; H: Accepted; J: Accepted
82 | A: Belt Filter Press; D: Siemens; G: Accepted; J: Accepted
83 | D: EMO; J: Accepted
84 | A: Chemical Storage - HDPE; D: Bushman; G: Accepted; H: Accepted; J: Accepted
85 | D: Clark Industrial; H: Accepted; J: Accepted
86 | A: Chlorination Equipment; D: Siemens (Evoqua); G: Accepted; H: Accepted; J: Accepted
87 | D: Grundfos; H: Not Accepted; J: Accepted
88 | D: Hach (Analysers?); J: Accepted
89 | A: Cranes; D: Demag; G: Accepted; H: Accepted; J: Accepted
90 | D: JD Monocrane; G: Accepted; J: Accepted
91 | A: Generator; D: SE Power; G: Accepted; J: Accepted
92 | D: Genelite; G: Accepted; J: Accepted
93 | D: Allight; G: Accepted; H: Not Accepted; J: Accepted
94 | D: Pramac; J: Accepted
95 | A: Gravity Drainage Deck; D: Siemens; G: Accepted; J: Accepted
96 | D: EMO; J: Accepted
97 | A: Grit Chamber Mechanical Internals; D: Ovivo; G: Accepted; J: Accepted
98 | D: VOR; G: Accepted; H: Accepted; J: Accepted
99 | A: Grit Washing; D: Ovivio (Jones & Attwood; G: Accepted; J: Accepted
100 | A: Polymer Systems; D: Siemens; G: Accepted; J: Accepted
101 | D: Tomal (Prominent); G: Accepted; H: Accepted; J: Accepted
102 | A: Screenings Washing; D: Ovivio (Jones & Attwood); G: Accepted; H: Accepted; J: Accepted
103 | D: CST; H: Accepted; J: Accepted
104 | A: Scum Harvester; D: VOR; G: Accepted; H: Accepted; J: Accepted
105 | D: Australian Pollution Engineering; G: Accepted; J: Accepted
106 | A: Self Cleaning Filter; D: Amiad; G: Accepted; J: Accepted
107 | A: Odour control; C: McBerns; D: Vent & Ground Mount Odour Filter; E: DN50, 100, 150 & 300
108 | A: PAC System; D: Prominent; H: Accepted; J: Accepted
109 | A: UV System; C: Trojan (AQM); J: Accepted
110 | A: Lifting chains; F: AS4797 Stainless Steel Chain for Lifting Purposes
111 | A: Protective internal lining - Polyethylene; C: Steuler; E: min. 2.5 mm thickness; F: Mechanically anchored PE lining cast into wall & underside of top slab - Light colour
112 | C: Agrusafe
113 | C: Bluey Technologies
114 | C: AKS
115 | A: Protective internal coating - other coating types; C: Peerless Industrial Systems; D: Epigen 4029; F: Colour white to grey
116 | D: Epigen 1311 Ultra
117 | C: Sika Australia; D: Sikagard - 63N
118 | C: Hychem Epoxy Systems; D: Hychem TL5
119 | C: International Paints; D: Ceilcoat 2000 Flakeline
120 | C: ITWPF; D: Epirez 733UHB
121 | C: Fernco / JDP Applications; D: Ultracoat Epoxy Coating
122 | A | C | D | E | F | G | H | I | J | K
123 | Product | Manufacturer / Supplier | Trade Name | Size Range | Specified Requirements / Minimum Class | Bundaberg Regional Council | Fraser Coast Regional Council | Gympie Regional Council | South Burnet | North Burnett
124 | A: Protective external coating; Fernco / JDP Applications C: Steuler KCH; Ultracoat Epoxy Coating D: Oxydur PTB; Ultracoat Epoxy Coating F: Colour white to grey & heritage green
125 | A: Pump rails; Ultracoat Epoxy Coating F: Stainless Steel 316 Pump manufacturer to specify rail thickness
126 | A: Pump station covers; Fernco / JDP Applications C: Hallco; Ultracoat Epoxy Coating D: Hallco; Ultracoat Epoxy Coating F: Aluminium covers C/W safety grating. Maximum hinged lid lift 16 kg. Single person lift. Refer Standard Drawings SEQ-SPS-1304 drawing set
127 | Fernco / JDP Applications C: McBerns; Ultracoat Epoxy Coating D: McBerns
128 | Fernco / JDP Applications C: Multitrode; Ultracoat Epoxy Coating D: Safehatch
129 | Fernco / JDP Applications C: Southeast Stainless; Ultracoat Epoxy Coating D: Southeast Stainless
130 | Fernco / JDP Applications C: Custom made; Ultracoat Epoxy Coating F: Aluminium hinged removable cover with safety mesh/grille system. Refer Standard Drawings SEQ-SPS-1304 drawing set
131 | A: Temporary barricade system; Fernco / JDP Applications C: Kennedy's Aluminium; Ultracoat Epoxy Coating D: Railsafe; Ultracoat Epoxy Coating E: To suit 50 mm aluminium posts and telescopic aluminium guardrails; Ultracoat Epoxy Coating F: Railsafe' Corner Posts 'Railsafe' Intermediate Posts 'Railsafe' Post Inserts, 100 mm 'Railsafe' Guardrail, size B 'Railsafe' Guardrail, size D 'Railsafe' Guardrail, size F
132 | A: Fall-arrest anchorage point; Fernco / JDP Applications C: Aegis Sales & Service; Ultracoat Epoxy Coating D: SALA; Ultracoat Epoxy Coating F: Concrete installations: Flush mount 316 stainless steel. Bolted anchor point: Eye Bolt, 316 stainless steel. Load rating : 15 kN per person.
133 | Fernco / JDP Applications C: Barry Evans Lifting & Safety (QLD) Pty Ltd
134 | Fernco / JDP Applications C: Height Dynamics
135 | Fernco / JDP Applications C: Robertsons Lifting & Rigging
136 | A: Davit base; Fernco / JDP Applications C: Aegis Sales & Service; Ultracoat Epoxy Coating D: SALA; Ultracoat Epoxy Coating E: Suitable for use with SALA Advanced Davit Arm System; Ultracoat Epoxy Coating F: Flush floor-mounted 316 stainless steel, Part No: L-4035, with bevelled edge, suitable for core-drilling into concrete slab. Flush floor-mounted 316 stainless steel, Part No: L-4034, suitable for casting into concrete. Flush floor-mounted stainless steel, Part No: 8510110, suitable for casting into concrete. Flush floor-mounted galvanised steel, Part No: 8510109, suitable for casting into concrete. Sleeve cap, stainless steel for flush floor-mounted davit base, Part No: 8510553. Floor-mounted galvanised steel, Part No: 8518503. Wall-Mounted galvanised Steel, Part No: 8518504.
137 | Fernco / JDP Applications C: Barry Evans Lifting & Safety (QLD) Pty Ltd
138 | Fernco / JDP Applications C: Height Dynamics
139 | Fernco / JDP Applications C: Robertsons Lifting & Rigging
140 | A: Portable davit, complete with emergency retrieval self retracting lifeline; Fernco / JDP Applications C: Aegis Sales & Service; Ultracoat Epoxy Coating D: SALA; Ultracoat Epoxy Coating E: Advanced Davit Arm System. Boom hoist height 1981 to 2235 mm. Boom reach 305 to 737 mm.; Ultracoat Epoxy Coating F: Advanced Upper Offset Mast, Part No: 8518001 (Supplied complete with Part No. 8516824 & 8510207). Advanced Lower Mast Extension, 1143 mm Part No: 8518003. Emergency Retrieval Sealed Self Retracting Lifeline, 15 m SS wire rope, Part No: 3400102 (Supplied complete with mounting bracket, Part No: 3401065).
141 | Fernco / JDP Applications C: Barry Evans Lifting & Safety (QLD) Pty Ltd
142 | Fernco / JDP Applications C: Height Dynamics
143 | Fernco / JDP Applications C: Robertsons Lifting & Rigging